## Slide 1: LOCAFI+
Temperature assessment of a vertical member subjected to LOCAlised FIre
Dissemination
Grant Agreement n° 754072
5. Software

## Slide 2: 5.1. OZone Compartment
5. Software
http://sections.arcelormittal.com/download-center/design-software/fire-calculations.html

## Slide 3: 5.1. OZone Compartment
5. Software

## Slide 4: 5.1. OZone Compartment
5. Software
Geometry of the compartment
Properties of floor, walls and ceiling
Forced Ventilation
(if any)

## Slide 5: 5.1. OZone Compartment
5. Software
Properties of layers for each wall
Openings

## Slide 6: 5.1. OZone Compartment
5. Software

## Slide 7: 5.1. OZone Compartment
5. Software

## Slide 8: 5.1. OZone Compartment
5. Software
Before the fire
Ignition

## Slide 9: 5.1. OZone Compartment
5. Software
Localised fire
Fully-developed fire

## Slide 10: 5.1. OZone Compartment
5. Software

## Slide 11: 5.1. OZone Compartment
5. Software

## Slide 12: 5.1. OZone Compartment
5. Software
Rate of Heat Release
RHR given
RHR calculated
Gas temperature
θ
Hot
θ
Cold
Cold zone
Hot zone
After 13 minutes, the hot zone temperature reaches 500°C  Switch from 2 zones to 1 zone

## Slide 13: 5.1. OZone Compartment
5. Software

## Slide 14: 5.2. OZone Localised fire
5. Software
The target (column,…) is always on the axis y = 0. It is recommended to set it on x = 0
Evolution of RHR
Diameter and position of the localised fire(s)

## Slide 15: 5.2. OZone Localised fire
5. Software
1. Run the Thermal Action calculation
2. Select the Heating (Compartment, Localised or max. between both)
3. Select the Profile
4. Run the Steel Temperature calculation
EN 1991-1-2 § 3.3.2 (4)
In order to calculate more accurately the temperature distribution along a member, in case of a localised fire, a combination of results obtained with a two-zone model and a localised fire approach may be considered.
NOTE The temperature field in the member may be obtained by considering the maximum effect at each location given by the two fire models.
Localised
Localised
Zone
Localised
Zone
Zone

## Slide 16: 5.2. OZone Localised fire
5. Software

## Slide 17: 5.2. OZone Localised fire
5. Software

## Slide 18: 5.3. SAFIR Localised fire
5. Software
Geometrical method has been implemented into SAFIR (direct heat exchange between finite surfaces).
This generates non-uniform distributions of temperature in the analysed sections.
Each fire source is described by position (x, y, z), shape (cylinder or cone), vertical position of the ceiling, evolution of diameter according to time, evolution of RHR according to time.
In case of several fires, contributions are summed up and limited to 100 kW/m2
18
5°
5°
Cylinder flame (touching the ceiling)
Franssen, J.-M., & Gernay, T. (2017). Modeling structures in fire with SAFIR®: Theoretical background and capabilities. Journal of Structural Fire Engineering, 8(3), 300-323.

## Slide 19: 5.3. SAFIR Localised fire
5. Software
One 2D thermal analysis is performed in each Gauss point of each beam (or shell) finite element.
19
This column is not heated
This column has 4 finite elements
=> 8 points of Gauss
This beam has 4 finite elements => 8 points of Gauss

## Slide 20: 5.3. SAFIR Localised fire
5. Software
In a concave section, shadow effect is automatically considered if the section is outside the fire.
20
Convex shape
Concave shape